Syrian Private University
Faculty of Artificial Intelligence Engineering
Senior Project 2 Report on

# AI-Based Early Warning System for Predicting Hemodynamic Deterioration in ICU Patients

Prepared by :

Enas Alsaleh

Supervised by:

Dr. Nisreen Sulayman Eng. Zainab Baghdadi

2026_2027

Faculty of Engineering

Department of AI & Data Science

SUPERVISOR CERTIFICATION

# I certify that the preparation of this project AI-Based Early Warning System for Predicting Hemodynamic Deterioration in ICU Patients

prepared by Enas Saleh

Was made under my supervision at the Faculty of Engineering in partial fulfillment of theRequirements for the Degree of Bachelor

Name:

Date:

Signature:

Chapter 1: Introduction

1.1 Introduction

Intensive Care Units (ICUs) provide continuous monitoring and specialized care for critically ill patients. These patients may experience rapid changes in their physiological conditions, making early identification of clinical deterioration essential for timely medical intervention.

Hemodynamic deterioration refers to a worsening of the circulatory system’s ability to maintain adequate blood flow and tissue perfusion. Changes in vital signs, such as blood pressure and heart rate, may provide important indications of a patient’s condition. However, identifying early signs of deterioration can be challenging because patient measurements change over time and may be incomplete or irregularly recorded.

Recent advances in Artificial Intelligence (AI) and Machine Learning (ML) have created opportunities to analyze clinical data and identify patterns associated with patient deterioration. Machine learning models can process historical patient measurements and estimate the risk of future adverse events, potentially supporting healthcare professionals in clinical decision-making.

This graduation project proposes an AI-based early warning system for predicting hemodynamic deterioration in ICU patients. The proposed system aims to investigate the use of routinely collected clinical data and machine learning techniques to estimate deterioration risk before a critical event occurs. The project is currently in its preliminary research stage, focusing on reviewing related studies and developing a suitable methodology for future implementation.

1.2 Scientific Problem

Patients admitted to Intensive Care Units (ICUs) are at risk of developing hemodynamic deterioration, which may lead to serious complications if not recognized and managed in a timely manner. Early detection of such deterioration is essential to support appropriate clinical intervention.

Although ICU patients are continuously monitored, identifying early warning signs remains challenging. Traditional monitoring approaches often rely on individual physiological measurements and predefined thresholds, which may not fully capture complex relationships and gradual changes in a patient’s condition.

Furthermore, clinical data collected in ICUs are often irregularly recorded and may contain missing values. These characteristics make it difficult to identify reliable patterns associated with future deterioration.

The scientific problem addressed by this project is to investigate whether machine learning techniques can analyze routinely collected ICU patient data to predict hemodynamic deterioration before its occurrence.

The main challenge is to develop a prediction approach that can identify patients at increased risk while considering the limitations of clinical data and minimizing unnecessary false alarms.

1.3 Research Objectives

The main objective of this project is to investigate the development of an Artificial Intelligence-based early warning system for predicting hemodynamic deterioration in Intensive Care Unit (ICU) patients using machine learning techniques.

To achieve this objective, the project aims to:

1. Review recent scientific studies related to early warning systems and machine learning-based prediction of clinical deterioration in ICU patients.
2. Investigate publicly documented clinical databases, such as MIMIC-IV and eICU-CRD, to assess their suitability for the proposed prediction task.
3. Identify relevant physiological and laboratory measurements that may contribute to predicting hemodynamic deterioration.
4. Explore appropriate data preprocessing and feature extraction techniques for handling missing values and irregularly recorded clinical measurements.
5. Investigate and compare machine learning algorithms, including Logistic Regression, Random Forest, and XGBoost, for the proposed prediction task.
6. Evaluate the predictive performance of the selected models using suitable metrics, such as AUROC, AUPRC, sensitivity, and precision, during the implementation stage.
7. Explore the design of a simple early warning interface that could display the estimated risk of hemodynamic deterioration to support clinical decision-making.

1.4 Research Contribution

The proposed research aims to contribute to the development of artificial intelligence-based early warning systems for predicting hemodynamic deterioration in Intensive Care Unit (ICU) patients.

Based on the reviewed literature, several machine learning approaches have demonstrated promising results in predicting hemodynamic deterioration and related critical events. However, challenges remain regarding missing clinical data, differences between patient populations, model generalizability, and the practical usefulness of early warning predictions.

The proposed contribution of this project is to investigate a machine learning framework that combines routinely collected physiological and laboratory measurements to estimate the risk of future hemodynamic deterioration.

The project also aims to compare different machine learning algorithms under a consistent evaluation framework, with particular attention to prediction performance, interpretability, and false alarms.

Additionally, the possibility of incorporating time-aligned medication information may be explored in a later stage, depending on data availability and project feasibility.

The expected contribution is a research-oriented approach that may support the development of more transparent and clinically relevant early warning systems. Its effectiveness will need to be evaluated through future experiments.

1.5 Potential Beneficiaries

The proposed project may benefit healthcare professionals working in Intensive Care Units (ICUs), particularly physicians and nursing staff responsible for monitoring critically ill patients.

An AI-based early warning system could support healthcare professionals by providing additional information about patients who may be at increased risk of hemodynamic deterioration, potentially helping them recognize warning signs earlier.

The project may also benefit researchers and students in artificial intelligence, machine learning, and medical informatics by providing a framework for investigating predictive models using clinical data.

Furthermore, healthcare institutions may benefit from future research on such systems to improve patient monitoring and clinical decision support. However, the proposed system is intended for research purposes and would require further validation before any clinical use.

1.6 Thesis Organization

This report is organized into several chapters that present the background, objectives, related research, and proposed approach of the project.

Chapter 1 introduces the project, defines the scientific problem, outlines the research objectives, and discusses the proposed contribution and potential beneficiaries.

Chapter 2 presents the theoretical background required to understand the project. It covers Intensive Care Units (ICUs), hemodynamic deterioration, physiological monitoring, clinical data, and relevant artificial intelligence and machine learning concepts.

Chapter 3 reviews previous studies related to early warning systems and the prediction of clinical deterioration. It compares existing approaches and discusses the research challenges relevant to the proposed project.

Chapter 4 presents the proposed solution, including the general system workflow, potential data sources, data preprocessing steps, machine learning approaches, and the planned evaluation strategy.

The implementation, experimental results, and conclusions will be addressed in later stages of the graduation project.

2.1 Intensive Care Units (ICUs)

Intensive Care Units (ICUs) are specialized hospital departments designed to provide continuous monitoring and advanced medical care for patients with severe or life-threatening conditions. Patients admitted to ICUs often require close observation because their health status may change rapidly.

ICU patients may experience complications involving different organ systems, including the cardiovascular and respiratory systems. Therefore, healthcare professionals continuously assess physiological measurements such as heart rate, blood pressure, respiratory rate, oxygen saturation, and body temperature.

In addition to vital signs, laboratory test results and other clinical information are used to evaluate a patient’s condition. These measurements provide valuable information about physiological changes and may help identify early signs of clinical deterioration.

Modern ICUs generate large amounts of patient data through bedside monitoring devices and electronic health records. These data create opportunities for applying artificial intelligence and machine learning techniques to identify patterns that may be difficult to recognize through individual measurements alone.

In the context of this project, ICU data represent a potential source of information for investigating early prediction of hemodynamic deterioration. An AI-based early warning system could analyze historical patient measurements and estimate the risk of future deterioration to support clinical monitoring.

2.2 Hemodynamic Deterioration

Hemodynamic deterioration refers to a worsening of a patient’s circulatory condition that may reduce the ability of the cardiovascular system to maintain adequate blood flow and oxygen delivery to body tissues. It can occur in critically ill patients and may require urgent medical assessment and intervention.

Hemodynamic stability depends on several physiological factors, including blood pressure, heart rate, cardiac output, and vascular resistance. Changes in these factors may indicate that the circulatory system is becoming less effective at maintaining sufficient tissue perfusion.

Common signs associated with hemodynamic deterioration may include low blood pressure (hypotension), an abnormally high heart rate (tachycardia), and changes in other physiological measurements. However, these signs are not always specific to hemodynamic deterioration and must be interpreted within the patient’s overall clinical condition.

Early identification of hemodynamic deterioration is important because delayed recognition may increase the risk of complications. Continuous monitoring of physiological measurements can help healthcare professionals recognize changes in patient condition, although individual measurements may not always provide sufficient warning.

In this project, hemodynamic deterioration represents the clinical condition that the proposed early warning system aims to predict. Machine learning techniques may be investigated to identify patterns in historical ICU data that are associated with an increased risk of future deterioration.

2.3 Physiological Parameters and Clinical Indicators

Physiological parameters and clinical indicators play an important role in assessing the health status of patients in Intensive Care Units (ICUs). These measurements provide information about the functioning of different body systems and may help healthcare professionals recognize early signs of deterioration.

Blood pressure is one of the most important indicators of hemodynamic stability. Systolic blood pressure (SBP), diastolic blood pressure (DBP), and mean arterial pressure (MAP) provide information about the pressure within the circulatory system. A significant decrease in blood pressure may indicate impaired circulation, although its interpretation depends on the patient’s clinical condition.

Heart rate (HR) is another important physiological parameter. Abnormal changes in heart rate may be associated with cardiovascular stress or other medical conditions. Monitoring heart rate trends over time can provide useful information beyond a single measurement.

Respiratory rate (RR) and oxygen saturation (SpO₂) are commonly monitored in ICU patients. Although these measurements do not directly define hemodynamic deterioration, they may provide additional information about the patient’s overall physiological condition.

Laboratory measurements, such as blood lactate levels, may also provide useful information. Elevated lactate levels can be associated with inadequate tissue perfusion, but they may also occur for other reasons and should not be interpreted independently.

For the proposed project, these physiological and clinical indicators represent potential input features for machine learning models. The final selection of features will depend on data availability, clinical relevance, and the definition of the prediction task.

2.4 Clinical Time-Series Data

Clinical time-series data consist of physiological and medical measurements recorded at different points in time. In Intensive Care Units (ICUs), these data may include heart rate, blood pressure, respiratory rate, oxygen saturation, and laboratory test results.

Unlike static patient information, time-series data describe how a patient’s condition changes over time. For example, a gradual decrease in blood pressure or a sustained increase in heart rate may provide information that is not apparent from a single measurement.

Analyzing temporal patterns is particularly important for early warning systems because physiological changes may develop before a critical event occurs. By examining measurements collected during a previous observation period, a predictive model may identify patterns associated with future hemodynamic deterioration.

However, clinical time-series data present several challenges. Measurements may be recorded at irregular intervals, some values may be missing, and different physiological variables may be measured at different frequencies. These issues can affect the quality and reliability of machine learning predictions.

Several preprocessing techniques can be considered to address these challenges, including organizing measurements into consistent time intervals, handling missing values, and extracting statistical or temporal features.

In the proposed project, historical ICU measurements may be used as input to machine learning models to estimate the risk of hemodynamic deterioration within a future prediction period. The appropriate observation and prediction windows will be determined during the methodology development stage.

3.1 Introduction

Recent studies have investigated the use of artificial intelligence and machine learning to predict clinical deterioration in hospitalized and critically ill patients. These studies have explored different clinical datasets, prediction targets, and machine learning algorithms to identify patients at risk before critical events occur. This chapter reviews selected studies related to hemodynamic deterioration, septic shock, and early warning systems. It highlights their main approaches and findings to identify challenges and considerations relevant to the proposed project.

| Reference No. | Dataset | Preprocessing and Feature Engineering | AI/ML Models | Training and Validation | Evaluation Metrics and Results | Limitations | Year |
| --- | --- | --- | --- | --- | --- | --- | --- |
| [1] | MIMIC-IV v3.0 (2008–2019) and eICU-CRD v2.0 (2014–2015); sample sizes not reported. | Admission-available features only (demographics, history, vital signs, laboratory values); future variables excluded to prevent leakage; MICE imputation; outliers removed using clinical reference ranges and manual review. | RF (final model), SVM, XGBoost, LR, DT, NB. | Hyperparameter tuning and class balancing; stratified 10-fold CV repeated 10 times; bidirectional external validation (MIMIC-IV ↔ eICU-CRD); bootstrap CIs (n = 1,000). | RF AUROC 0.870 (MIMIC-IV) and 0.883 (eICU-CRD) internally; 0.841 and 0.852 externally. SVM had a higher baseline AUROC (0.934), but RF was selected. Mortality rose from 0.8% (very low risk) to 84.2% (very high risk). Calibration and decision curve analysis also reported. | Retrospective design with possible temporal and inter-institutional bias; susceptible to coding errors, missing data, and selection bias that imputation may not fully address. Only structured EHR data were used, excluding nursing assessments and clinical judgment, and data were limited to North America; prospective and broader external validation are needed. | 2026 |
| [2] | MIMIC-IV (development; n = 5,561; 2,259 septic shock) and eICU-CRD (external; n = 5,822; 1,212 septic shock); adults aged 18–89 years. | First vital signs, laboratory values, and severity scores within 24 h of ICU admission; exclusion of high-missingness patients (>40%) and variables (>10%); median imputation; standardization; LASSO feature selection; SHAP interpretation. | RF (best), XGBoost, SVM, LightGBM, LR, NB. | Trained on MIMIC-IV and externally validated on eICU-CRD; 10-fold CV used to tune LASSO. | RF AUC 0.785 (95% CI 0.770–0.800), sensitivity 0.736, specificity 0.699, Brier score 0.189; other models AUC 0.742–0.782. RF showed the best calibration and net benefit. Top SHAP predictors: SOFA, heart rate, creatinine, SAPS II, OASIS. | Retrospective data are subject to documentation bias, missingness, and inter-institutional variation, and recalibration may be required in other settings. Only routinely available variables were used, excluding lactate trends, inflammatory markers, and imaging. The study compared existing algorithms rather than proposing a novel method; hybrid approaches (e.g., fuzzy logic, genetic algorithms) are suggested for future work. | 2026 |
| [3] | MIMIC-IV (n = 5,125; 766 septic shock; 60/20/20 split) and eICU-CRD (external; n = 2,180; 480 septic shock). | 6-h look-back window to predict septic shock in the next 6 h; hourly aggregation with forward-fill; SHAP-guided selection of 8 ABG and 7 vital-sign features; WOE/IV binning. | SORP: WOE-based LR scorecard, compared with complex ML/DL models (XGBoost used for SHAP). | 60/20/20 train/validation/test split of MIMIC-IV; external validation on eICU-CRD. | Test AUC 0.946 vs 0.965 for the best complex model. Septic shock incidence ranged from 88.6% (high risk) to 0.3% (ultralow risk); risk distribution was stable (PSI < 0.01); median warning time 13 h. In eICU-CRD, results were similar under an alternative septic shock definition. | Data sources were geographically limited, restricting analysis of regional differences; validation in other regions is needed, along with regular monitoring and adjustment of forewarning performance as new data become available. In eICU-CRD, septic shock could not be defined by Sepsis-3 criteria, so metrics such as AUC were not directly comparable with MIMIC-IV. | 2025 |
| [4] | Adult ward admissions from three U.S. health systems: development n = 901,491; retrospective validation n = 1,769,461; prospective validation n = 205,946; external validation in 21 hospitals. | 97 features (demographics, vital signs, laboratory values, documentation, temporal trends); implausible values set to missing; carry-forward imputation (blood gas and lactate up to 24 h); 8-h intervals; downsampling. | Gradient-boosted trees with discrete-time survival analysis (eCARTv5); compared with eCARTv2, NEWS, and MEWS. | 5-fold CV for hyperparameter tuning; retrospective external and prospective real-time validation (2023–2024); subgroup analyses. | AUROC 0.834 (retrospective) and 0.828 (prospective), outperforming all comparators; subgroup AUROC 0.810–0.909. Calibration and lead time also assessed. | GBM models are difficult to interpret and require explainability methods. Other ML approaches and comparator scores were not evaluated, and it could not be determined whether ICU transfers were expected or unanticipated. High discrimination may not improve outcomes; prospective implementation is needed to assess impact on patient care. | 2025 |
| [5] | MIMIC-IV (development; n = 23,909; 452 IHCA), eICU-CRD (external; n = 10,049; 85 IHCA), and NTUH (clinical validation; 1,935 IHCA, 3,692 controls); adults with ICU stay ≥24 h. | Baseline features plus six hourly vital signs from the preceding 24 h; last observation carried forward; SMOTE; RF importance and SHAP for interpretation. | Stacked ensemble: RF (baseline features) and LSTM (vital-sign series) combined by SVM; compared with LR, KNN, and XGBoost. | 5-fold CV with grid search on MIMIC-IV; external validation on eICU-CRD; clinical validation on NTUH. | At 1 h before IHCA: AUROC 0.91 (MIMIC-IV), 0.89 (eICU-CRD), and ≈0.945 (NTUH). Identified >70% of at-risk patients 12 h before arrest, outperforming CART. | Data were drawn from a single medical center, and reasons for irregular EHR sampling could not be determined. Interventions, temperature, and mental status were omitted owing to complexity and missingness. IHCA labels relied on procedure codes and epinephrine dosing, which may be affected by delayed or inconsistent documentation; manual review of vital signs was used to reduce this bias. | 2024 |
| [6] | 9 studies (2001–2019); 879,224 adult inpatients; sample sizes 702–374,605. | 4–33 predictors per study (vital signs, consciousness, demographics, laboratory data); missing-data handling identified as a methodological concern. | ANN, LSTM, MLP, RNN, RF, SVM, GBM, KNN, decision and bagged trees; compared with MEWS. | PRISMA, CHARMS, and PROBAST; 2 prospective and 7 retrospective cohorts; no meta-analysis owing to heterogeneity. | ML AUROC 0.736–0.936 vs MEWS 0.603–0.886; ML outperformed MEWS in six studies. Best model: hybrid MLP–LSTM (AUROC 0.936). | Possible selection bias despite a rigorous search (final search December 2020) and possible publication bias; the funnel plot suggested the latter, but the small number of studies precluded a firm conclusion. | 2022 |

3.3 Research Gap

Previous studies have demonstrated the potential of machine learning for predicting hemodynamic deterioration and related critical events. However, challenges remain in handling missing and irregular clinical data, reducing false alarms, and evaluating model performance across different patient populations. Therefore, this project proposes to investigate and compare machine learning approaches using ICU clinical data, with attention to prediction reliability and interpretability.

4.1 Proposed System Overview

This project proposes an AI-based early warning system to predict hemodynamic deterioration in Intensive Care Unit (ICU) patients.

The proposed system will investigate the use of clinical data, including vital signs and laboratory measurements, from publicly available research databases such as MIMIC-IV and eICU-CRD. The data will be preprocessed to address missing values and prepare relevant features for prediction.

Machine learning algorithms, such as Logistic Regression, Random Forest, and XGBoost, will be investigated and compared to identify a suitable prediction approach.

The proposed system aims to estimate the risk of future hemodynamic deterioration and present the prediction through a simple early warning interface. The system’s performance will be evaluated during the implementation stage.

ICU Clinical Data 

 (MIMIC-IV / eICU-CRD)

(MIMIC-IV / eICU-CRD)

Data Preprocessing 
 (Missing Values, Cleaning)

Feature Extraction
(Vital Signs and Labs)

Machine Learning Models

(LR, Random Forest, XGBoost)

Risk Prediction

(Hemodynamic Deterioration)

Early Warning Output

(Risk Display)

References

[1]	Gao, S., Zhang, Y., Deng, M., Liu, H., Xu, W., Luo, M., Tian, Y., & Zhang, B. (2026). Machine learning-based early warning system for hemodynamic deterioration in cardiovascular ICU patients: A bidirectional cross-validation study. Frontiers in Cardiovascular Medicine, 12, Article 1694001. https://doi.org/10.3389/fcvm.2025.1694001

[2]	Zhou, H., Li, F., & Liu, X. (2026). Early prediction of septic shock in ICU patients using machine learning: Development, external validation, and explainability with SHAP. International Journal of Medical Informatics, 206, Article 106169. https://doi.org/10.1016/j.ijmedinf.2025.106169

[3]	Liu, G., Zheng, S., He, J., Zhang, Z.-M., Wu, R., Yu, Y., Fu, H., Han, L., Zhu, H., Xu, Y., Shao, H., Yan, H., Chen, T., & Shen, X. (2025). An easy and quick risk-stratified early forewarning model for septic shock in the intensive care unit: Development, validation, and interpretation study. Journal of Medical Internet Research, 27, Article e58779. https://doi.org/10.2196/58779

[4]	Churpek, M. M., Carey, K. A., Snyder, A., Winslow, C. J., Gilbert, E., Shah, N. S., Patterson, B. W., Afshar, M., Weiss, A., Amin, D. N., Rhodes, D. J., & Edelson, D. P. (2025). Multicenter development and prospective validation of eCARTv5: A gradient-boosted machine-learning early warning score. Critical Care Explorations, 7(4), Article e1232. https://doi.org/10.1097/CCE.0000000000001232

[5]	Lee, H.-Y., Kuo, P.-C., Qian, F., Li, C.-H., Hu, J.-R., Hsu, W.-T., Jhou, H.-J., Chen, P.-H., Lee, C.-H., Su, C.-H., Liao, P.-C., Wu, I.-J., & Lee, C.-C. (2024). Prediction of in-hospital cardiac arrest in the intensive care unit: Machine learning–based multimodal approach. JMIR Medical Informatics, 12, Article e49142. https://doi.org/10.2196/49142

[6]	Moffat, L. M., & Xu, D. (2022). Accuracy of machine learning models to predict in-hospital cardiac arrest: A systematic review. Clinical Nurse Specialist, 36(1), 29–44. https://doi.org/10.1097/NUR.0000000000000644